## Slide 2: APA Coldbox test PDS data analysis
~5000 waveforms recorded with the PD modules of APA in coldbox
Charge inside each waveform is estimated for SNR calculation
signal
noise

## Slide 3: APA Coldbox test PDS data analysis
Multigaussian fit of charge histogram with:
  +
  + cell
Signal to Noise ratio (>4 for DUNE):
  SNR0 = G /
  SNR1 = G /
  SNR2 = G / sqrt()